NOTE - ALL QUESTIONS ARE PRIORITY ‘A' EXCEPT #24B.

| 1. | Does the supplier have a written description of the calibration system? (ISO 4.11.1) | ___Sat ___Unsat |
| --- | --- | --- |
| 2. | Is the calibration system coordinated with the quality program/inspection system? (ISO 4.2.3) | ___Sat ___Unsat |
| 3. | Is a listing of all standards maintained which includes nomenclature, identification number, calibration interval and source of calibration? | ___Sat ___Unsat |
| 4. | Are calibration intervals for measuring and test equipment and measurement standards established based on stability, purpose and degree of usage? (ISO 4.11.1) | ___Sat ___Unsat |
| 5. | a. Does the system provide for the mandatory recall of all items? | ___Sat ___Unsat |
|  | b. Are items returned for calibration as scheduled? (ISO 4.11.1) | ___Sat ___Unsat |
| 6. | Are calibration/recall procedures readily available to the calibrating personnel? | ___Sat ___Unsat |
| 7. | Does this procedure provide for: (ISO 4.11.1) ? | ___Sat ___Unsat |
|  | a. Adjustment of calibration frequency? | ___Yes ___No |

|  | b. Determining the adequacy of measuring/test equipment and procedures? | ___Yes ___No |
| --- | --- | --- |
|  | c. Identification and prevention of use of any equipment, which does not perform satisfactorily? | ___Yes ___No |
|  | d. Definition of significant out-of-tolerance conditions? | ___Yes ___No |
|  | e. Written notification by calibration activity to user or a designated organization of significant out-of-tolerance conditions? | ___Yes ___No |
|  | f. Corrective action by supplier on affected product? | ___Yes ___No |
|  | g. Is an adequate checkout and accountability system in effect for locating equipment for recall purposes? (ISO 4.11.1) | ___Yes ___No |
| 8. | Are tools, gauges and test equipment traceable to the t National Institute of Standards Technology? (NIST) (ISO 4.11.1) | ___Sat ___Unsat |
| 9. | Do calibration/inspection records reflect:(ISO 4.11.1) | ___Sat ___Unsat |

|  | a. Item identity number and name? | ___Yes ___No |
| --- | --- | --- |
|  | b. Frequency of calibration? | ___Yes ___No |
|  | c. Procedure for calibration/inspection? | ___Yes ___No |
|  | d. Date calibrated/inspected and due date for calibration/inspection? | ___Yes ___No |
|  | e. Personnel performing calibration/inspection? | ___Yes ___No |
|  | f. Deviation from standard values? | ___Yes ___No |
|  | g. Actual measurement/value documented? | ___Yes ___No |
|  | h. Standard used (traceable to NIST)? | ___Yes ___No |
| 10. | Are tools, gauges and test equipment identified in a manner to reflect: (ISO 4.11.1) | ___Sat ___Unsat |
|  | a. Date calibrated/inspected and/or date due for calibration/inspection? | ___Yes ___No |
|  | b. Personnel responsible for calibration/inspection? | ___Yes ___No |
|  | c. Item identity or serial number? | ___Yes ___No |
| 11. | Are inactive standards identified as "inactive" or "calibration not required"? | ___Sat ___Unsat |
| 12. | Are adequate facilities used for transportation, storage and calibration of all tools, gauges and test equipment? | ___Sat ___Unsat |
| 13. | Does the described system require evaluation of the adequacy of the calibration system based on out-of-tolerance calibration data?(ISO 4.11.2.c) | ___Sat ___Unsat |
| 14. | Does the supplier maintain cleanliness and provide for protection of test equipment? (ISO 4.11.2.h) | ___Sat ___Unsat |

| 15. | Does the supplier have the necessary gauges and measuring devices to permit reliable inspections to meet the procedural acceptance criteria? (ISO 4.11.2.a) | ___Sat ___Unsat |
| --- | --- | --- |
| 16. | Are new or reworked tools "proven" prior to usage? (ISO 4.11.2.b) | ___Sat ___Unsat |
| 17. | Are customer-furnished tools, gauges and test equipment adequately controlled? (ISO 4.11.2) | ___Sat ___Unsat ___N/A |
| 18. | Are employee-owned tools and gauges used for product acceptance subject to the same controls as company-owned equipment? (4.11.2) | ___Sat ___Unsat ___N/A |
| 19. | Is calibration performed utilizing standards that have a higher accuracy level than the accuracy requirements of the equipment being calibrated? | ___Sat ___Unsat |
| 20. | Is calibration performed in a controlled environment (as determined necessary to assure the continued accuracy of the equipment and standards)? NOTE: The supplier's procedure must specify environmental considerations to be applied. | ___Sat ___Unsat |
| 21. | Are tamper-proof seals used to protect from access to adjustment features which could affect calibration? | ___Sat ___Unsat ___N/A |

| 22. | Are items which are not calibrated to their full capability or which require functional check only labeled to indicate the applicable condition? | ___Sat ___Unsat ___N/A |
| --- | --- | --- |
| 23. | Are acceptance certificates of calibration provided for all equipment? | ___Sat ___Unsat ___N/A |
| 24. | a.Does each piece of inspection, measuring and test equipment, that can affect quality, have a different and unique identification number assigned? | ___Sat ___Unsat |
|  | b.Review and record a sample of measuring and test equipment serial/traceability numbers: Sample Size: ____ Serial/Traceability Numbers: |  |
| 25. | Does the supplier use outside calibration laboratories? ISO 4.11.2.a) | ___Sat ___Unsat ___N/A |
| 26. | Are outside laboratories evaluated for acceptability? (ISO 4.6.1) | ___Sat ___Unsat |
| 27. | Are these laboratories on an approved subcontractor list? ISO 4.6.2) | ___Sat ___Unsat |

Additional Comments/Concerns: